## Info
First Nations Drinking Water Advisories & System Upgrades
The Government of Canada is working with First Nations to end long-term drinking water advisories which have been in effect for more than 12 months since November 2015.
Indigenous Services Canada maintains a map of these advisories here. The data behind this map has been re-purposed to create the charts below. The ISC map page has a link to download the file.
The map data source and download file is actually created by Javascript on the page from a larger file.
The data file originally contains a bit less than 700 records however the 160 advisory records are only a subset of these.
Map
https://www.sac-isc.gc.ca/eng/1620925418298/1620925434679#
Map Data source (used in advisories Power Query)
https://www.sac-isc.gc.ca//DAM/DAM-ISC-SAC/DAM-WTR/STAGING/texte-text/lTDWA_map_data_1572010201618_eng.txt
Data source structure JSON
{
"data":[
{
"ID":"1", |  | <= about 700 community records
"CommunityNum":"1",
"CommunityName":"Abegweit",
etc
"LTDWACurrent":[ |  | <= each community has none or more current LTDWA
],
"LTDWALifted":[ |  | <= each community has none or more lifted LTDWA
{
"AdvisoryID":"1711", |  | note: current + lifted records = 160 records (eg not all communities have advisory
"Region":"ATLANTIC",
"CategoryID":4,
"WaterSystemName":"Morell Public Water System ",
"CommunityNum":1,
"CommunityName":"Abegweit",
"AdvisoryType":"Boil water advisory",
Github repository
https://github.com/sitrucp/first_nations_water
Github.io website
https://sitrucp.github.io/first_nations_water/
Lookup used to clean up community population bins
Original_pop | Amended_pop
0 to 100 people | 1) 0 to 100 people
0 to 50 people | 1) 0 to 100 people
1001 or more people | 4) 1001 or more people
101 to 200 people | 2) 101 to 500 people
101 to 500 people | 2) 101 to 500 people
201 to 500 people | 2) 101 to 500 people
501 to 1000 people | 3) 501 to 1000 people
51 to 100 people | 1) 0 to 100 people
Unknown | 5) Unknown

## pivot table & chart
Count of AdvisoryID | Status
Province | Lifted | Current | Grand Total
Newfoundland And Labrador | 1 |  | 1
Nova Scotia | 1 |  | 1
Prince Edward Island | 2 |  | 2
New Brunswick | 3 |  | 3
Quebec | 3 |  | 3
Alberta | 4 |  | 4
Manitoba | 13 | 2 | 15
British Columbia | 20 |  | 20
Saskatchewan | 18 | 6 | 24
Ontario | 44 | 43 | 87
Grand Total | 109 | 51 | 160

## advisories
AdvisoryID | Status | Province | Region | CategoryID | WaterSystemName | CommunityNum | CommunityName | AdvisoryType | CorrectiveMeasure | LongPhase | DateSet | DateLTDWASet | DateExpected | PopulatioEstimated | Amended_pop | Lattitude | Longitude | LongitudeSTR | LattitudeSTR | RecommendedEPHO | RecommendedEPHOIND | RecommendedEPHODate | RegionAcronym | LongPhaseCode
1711 | Lifted | Prince Edward Island | Atlantic | 4 | Morell Public Water System | 1 | Abegweit | Boil water advisory | New water treatment system | Complete | 2009-04-29 | 2010-04-29 | 2015-11-17 | 0 to 100 people | 1) 0 to 100 people | 46.3579 | -62.9026 | -62.90262 | 46.35793 | No | 0 |  | AT | 5
1712 | Lifted | Prince Edward Island | Atlantic | 4 | Rocky Point Public Water System | 1 | Abegweit | Boil water advisory | New water treatment system | Complete | 2008-01-10 | 2009-01-10 | 2015-11-20 | 0 to 100 people | 1) 0 to 100 people | 46.3579 | -62.9026 | -62.90262 | 46.35793 | No | 0 |  | AT | 5
1715 | Lifted | New Brunswick | Atlantic | 4 | Pabineau Public Water System | 13 | Pabineau | Boil water advisory | New water treatment system and reservoir | Complete | 2005-06-01 | 2006-06-01 | 2016-07-14 | 0 to 100 people | 1) 0 to 100 people | 47.5333 | -65.6691 | -65.66912 | 47.53327 | No | 0 |  | AT | 5
1727 | Lifted | Ontario | Ontario | 4 | Scugog Apartments Well House 3 Public Water System | 140 | Mississaugas of Scugog Island First Nation | Boil water advisory | Repairs to treatment system | Complete | 2008-10-23 | 2009-10-23 | 2018-02-09 | 0 to 100 people | 1) 0 to 100 people | 44.194 | -78.8806 | -78.88061 | 44.19397 | No | 0 |  | ON | 5
1713 | Lifted | New Brunswick | Atlantic | 4 | Indian Island Band Office/Health Centre Semi-Public Water System | 10 | Indian Island | Boil water advisory | Water system improvements | Complete | 2005-04-07 | 2006-04-07 | 2016-07-08 | Unknown | 5) Unknown | 46.6894 | -64.7912 | -64.79117 | 46.6893803 | No | 0 |  | AT | 5
1683 | Lifted | Ontario | Ontario | 4 | Wahta Administration/ Community Centre Semi-Public Water System | 134 | Wahta Mohawk | Do not consume advisory | New well and point-of-entry treatment system | Complete | 2013-09-11 | 2014-09-11 | 2021-03-31 | Unknown | 5) Unknown | 45.0164 | -79.7303 | -79.73028 | 45.01639 | No | 0 |  | ON | 5
1642 | Lifted | Ontario | Ontario | 4 | Big Grassy Public Water System | 124 | Big Grassy | Boil water advisory | Maintenance and repairs | Complete | 2017-03-01 | 2018-03-01 | 2019-04-17 | 101 to 500 people | 2) 101 to 500 people | 49.0658 | -94.3219 | -94.32186 | 49.06583 | No | 0 |  | ON | 5
1651 | Lifted | Ontario | Ontario | 4 | Lac La Croix Public Water System | 127 | Lac La Croix | Boil water advisory | Repairs and upgrades to treatment system | Complete | 2017-02-06 | 2018-02-06 | 2018-10-25 | 101 to 500 people | 2) 101 to 500 people | 48.3742 | -92.1612 | -92.16116 | 48.37422 | No | 0 |  | ON | 5
1833 | Lifted | Ontario | Ontario | 4 | Nigigoonsiminikaaning Public Water System | 129 | Nigigoonsiminikaaning First Nation | Boil water advisory | Upgrades to the treatment process | Complete | 2019-02-05 | 2020-02-05 | 2020-09-30 | 101 to 500 people | 2) 101 to 500 people | 48.75 | -92.9167 | -92.91669 | 48.74999 | No | 0 |  | ON | 5
1371 | Lifted | Ontario | Ontario | 4 | Mitaanjigamiing First Nation Stanjikoming Water Treatment System | 133 | Mitaanjigamiing First Nation | Boil water advisory | Upgrades to the existing treatment system | Complete | 2020-05-15 | 2021-05-15 | 2021-08-06 | 101 to 500 people | 2) 101 to 500 people | 48.0717 | -93.4333 | -93.43329 | 48.07167 | No | 0 |  | ON | 5
1744 | Lifted | Ontario | Ontario | 4 | Taykwa Tagamou Public Water System | 145 | Taykwa Tagamou Nation | Boil water advisory | Improved filtration | Complete | 2011-04-14 | 2012-04-14 | 2016-10-28 | 0 to 100 people | 1) 0 to 100 people | 49.0029 | -80.833 | -80.83298 | 49.00291 | No | 0 |  | ON | 5
1685 | Lifted | Ontario | Ontario | 4 | Peawanuck Public Water System (Non-Transient) | 146 | Weenusk | Boil water advisory | Upgrades to water treatment system | Complete | 2006-02-15 | 2007-02-15 | 2018-12-19 | 101 to 500 people | 2) 101 to 500 people | 55.0088 | -85.421 | -85.42101 | 55.00878 | No | 0 |  | ON | 5
1646 | Lifted | Ontario | Ontario | 4 | Grassy Narrows Public Water System | 149 | Grassy Narrows First Nation | Boil water advisory | Interim repairs and feasibility study to determine long-term solution | Complete | 2014-06-27 | 2015-06-27 | 2020-09-23 | 501 to 1000 people | 3) 501 to 1000 people | 50.1538 | -93.992 | -93.99201 | 50.15378 | No | 0 |  | ON | 5
1671 | Lifted | Ontario | Ontario | 4 | Windigo Island Public Water System | 152 | Animakee Wa Zhing #37 | Boil water advisory | Interim Treatment System | Complete | 2015-02-09 | 2016-02-09 | 2019-02-20 | 0 to 100 people | 1) 0 to 100 people | 49.3947 | -93.973 | -93.97296 | 49.39471 | No | 0 |  | ON | 5
1670 | Lifted | Ontario | Ontario | 4 | Regina Bay Public Water System | 152 | Animakee Wa Zhing #37 | Boil water advisory | Upgrades to treatment systems | Complete | 2002-09-26 | 2003-09-26 | 2020-09-30 | 101 to 500 people | 2) 101 to 500 people | 49.3947 | -93.973 | -93.97296 | 49.39471 | No | 0 |  | ON | 5
1721 | Lifted | Ontario | Ontario | 4 | Migisi Treatment System Semi-Public Water System | 153 | Anishinabe of Wauzhushk Onigum | Boil water advisory | New water treatment system | Complete | 2008-05-26 | 2009-05-26 | 2017-12-08 | Unknown | 5) Unknown | 49.7077 | -94.4464 | -94.44643 | 49.70772 | No | 0 |  | ON | 5
1776 | Lifted | Ontario | Ontario | 4 | Wauzhushk Onigum Public Water System | 153 | Anishinabe of Wauzhushk Onigum | Boil water advisory | MTSA with City of Kenoara and distribution upgrades | Complete | 2017-01-26 | 2018-01-26 | 2020-09-30 | 101 to 500 people | 2) 101 to 500 people | 49.7077 | -94.4464 | -94.44643 | 49.70772 | No | 0 |  | ON | 5
1639 | Lifted | Ontario | Ontario | 4 | Bald Indian Bay Public Water System | 153 | Anishinabe of Wauzhushk Onigum | Boil water advisory | Installation of centrally managed decentralized systems | Complete | 2012-05-11 | 2013-05-11 | 2021-03-09 | 0 to 100 people | 1) 0 to 100 people | 49.7077 | -94.4464 | -94.44643 | 49.70772 | No | 0 |  | ON | 5
1745 | Lifted | Ontario | Ontario | 4 | Wabauskang Public Water System | 156 | Wabauskang First Nation | Boil water advisory | Minor repairs to the plant | Complete | 2014-12-15 | 2015-12-15 | 2017-05-15 | 101 to 500 people | 2) 101 to 500 people | 50.4022 | -93.1567 | -93.15667 | 50.40222 | No | 0 |  | ON | 5
1720 | Lifted | Ontario | Ontario | 4 | Alderville Community Centre/Daycare Semi-Public Water System | 160 | Alderville First Nation | Boil water advisory | Repairs to treatment system | Complete | 2013-05-29 | 2014-05-29 | 2016-02-11 | 0 to 100 people | 1) 0 to 100 people | 44.1761 | -78.0805 | -78.08053 | 44.17606 | No | 0 |  | ON | 5
1723 | Lifted | Ontario | Ontario | 4 | Curve Lake Seniors Complex Semi-Public Water System | 161 | Curve Lake | Boil water advisory | Repairs to treatment system | Complete | 2016-07-20 | 2017-07-20 | 2018-06-06 | Unknown | 5) Unknown | 44.4818 | -78.3607 | -78.36074 | 44.48184 | No | 0 |  | ON | 5
1722 | Lifted | Ontario | Ontario | 4 | Constance Lake Public Water System | 182 | Constance Lake | Boil water advisory | New water treatment plant | Complete | 2014-04-10 | 2015-04-10 | 2016-09-16 | 501 to 1000 people | 3) 501 to 1000 people | 49.8063 | -84.1435 | -84.14349 | 49.80633 | No | 0 |  | ON | 5
1728 | Lifted | Ontario | Ontario | 4 | Pic Mobert South - Lower Reserve Public Water System | 195 | Pic Mobert | Boil water advisory | New centralized water treatment plant | Complete | 2008-02-26 | 2009-02-26 | 2016-12-16 | 101 to 500 people | 2) 101 to 500 people | 48.698 | -85.6087 | -85.60874 | 48.69799 | No | 0 |  | ON | 5
1729 | Lifted | Ontario | Ontario | 4 | Pic Mobert North - Upper Reserve Public Water System | 195 | Pic Mobert | Boil water advisory | New centralized water treatment plant | Complete | 2010-01-29 | 2011-01-29 | 2016-06-20 | Unknown | 5) Unknown | 48.698 | -85.6087 | -85.60874 | 48.69799 | No | 0 |  | ON | 5
1730 | Lifted | Ontario | Ontario | 4 | Rocky Bay Public Water System | 197 | Biinjitiwaabik Zaaging Anishinaabek | Boil water advisory | Replacement of disinfection equipment | Complete | 2015-08-10 | 2016-08-10 | 2016-08-11 | 101 to 500 people | 2) 101 to 500 people | 49.4361 | -88.1299 | -88.12989 | 49.43613 | No | 0 |  | ON | 5
1732 | Lifted | Ontario | Ontario | 4 | Serpent River Public Water System | 201 | Serpent River | Boil water advisory | Replacement of membrane filters | Complete | 2015-09-01 | 2016-09-01 | 2017-11-08 | Unknown | 5) Unknown | 46.2021 | -82.4681 | -82.46813 | 46.20207 | No | 0 |  | ON | 5
1725 | Lifted | Ontario | Ontario | 4 | Ten Houses (63A) Public Water System | 203 | Mishkeegogamang | Boil water advisory | Improved monitoring | Complete | 2015-03-09 | 2016-03-09 | 2017-03-28 | 101 to 500 people | 2) 101 to 500 people | 51.0918 | -90.2297 | -90.22975 | 51.09183 | No | 0 |  | ON | 5
1726 | Lifted | Ontario | Ontario | 4 | New Osnaburgh (63B) Public Water System | 203 | Mishkeegogamang | Boil water advisory | Repairs to treatment system | Complete | 2016-10-18 | 2017-10-18 | 2017-12-19 | 1001 or more people | 4) 1001 or more people | 51.0918 | -90.2297 | -90.22975 | 51.09183 | No | 0 |  | ON | 5
1247 | Lifted | Ontario | Ontario | 4 | New Osnaburgh (63B) Public Water System | 203 | Mishkeegogamang | Boil water advisory | Minor repairs and improved monitoring | Complete | 2019-10-07 | 2020-10-07 | 2020-11-09 | 1001 or more people | 4) 1001 or more people | 51.2167 | -90.1833 | -90.18329 | 51.21669 | No | 0 |  | ON | 5
1652 | Lifted | Ontario | Ontario | 4 | Kejick Bay Public Water System | 205 | Lac Seul | Boil water advisory | New water treatment plant | Complete | 2003-02-14 | 2004-02-14 | 2020-01-07 | Unknown | 5) Unknown | 50.2926 | -92.3003 | -92.30026 | 50.2926 | No | 0 |  | ON | 5
1674 | Lifted | Ontario | Ontario | 4 | Pikangikum Public Water System | 208 | Pikangikum | Boil water advisory | Upgrades and maintenance | Complete | 2016-12-14 | 2017-12-14 | 2018-09-17 | 1001 or more people | 4) 1001 or more people | 51.8005 | -93.9946 | -93.99465 | 51.80051 | No | 0 |  | ON | 5
1227 | Lifted | Ontario | Ontario | 4 | Sachigo Lake Public Water System | 214 | Sachigo Lake | Boil water advisory | Repairs to treatment system | Complete | 2016-06-07 | 2017-06-07 | 2018-04-20 | 101 to 500 people | 2) 101 to 500 people | 53.8743 | -92.1794 | -92.17937 | 53.87427 | No | 0 |  | ON | 5
1827 | Lifted | Ontario | Ontario | 4 | Fort Severn Public Water System | 215 | Fort Severn | Boil water advisory | Repairs to the distribution system and reservoir upgrades | Complete | 2019-02-04 | 2020-02-04 | 2020-09-25 | 101 to 500 people | 2) 101 to 500 people | 55.9833 | -87.6333 | -87.63329 | 55.98329 | No | 0 |  | ON | 5
1643 | Lifted | Ontario | Ontario | 4 | Cat Lake Children's Healing Centre Semi-Public Water System | 216 | Cat Lake | Boil water advisory | New water treatment system | Complete | 2006-10-13 | 2007-10-13 | 2018-12-17 | Unknown | 5) Unknown | 51.7278 | -91.8286 | -91.82861 | 51.72778 | No | 0 |  | ON | 5
1716 | Lifted | Nova Scotia | Atlantic | 4 | Potlotek Public Water System | 22 | Potlotek First Nation | Boil water advisory | New treatment plant and operator training | Complete | 2015-02-13 | 2016-02-13 | 2016-05-27 | 501 to 1000 people | 3) 501 to 1000 people | 45.6982 | -60.7727 | -60.77267 | 45.69817 | No | 0 |  | AT | 5
1724 | Lifted | Ontario | Ontario | 4 | Nursing Station Semi-Public Water System | 237 | Deer Lake | Boil water advisory | Repairs to treatment system | Complete | 2001-11-01 | 2002-11-01 | 2018-04-23 | Unknown | 5) Unknown | 52.6375 | -94.0753 | -94.07528 | 52.6375 | No | 0 |  | ON | 5
1666 | Lifted | Ontario | Ontario | 4 | North Spirit Lake Public Water System | 238 | North Spirit Lake | Boil water advisory | Repairs and upgrades to plant and distribution system | Complete | 2001-08-01 | 2002-08-01 | 2019-02-27 | 101 to 500 people | 2) 101 to 500 people | 52.5094 | -93.0146 | -93.01459 | 52.50942 | No | 0 |  | ON | 5
1746 | Lifted | Ontario | Ontario | 4 | Webequie Public Water System | 240 | Webequie | Boil water advisory | Repairs to distribution system and reservoir | Complete | 2016-04-08 | 2017-04-08 | 2018-04-24 | 501 to 1000 people | 3) 501 to 1000 people | 52.9841 | -87.3603 | -87.3603 | 52.98405 | No | 0 |  | ON | 5
1733 | Lifted | Ontario | Ontario | 4 | Band office/Clinic Semi-Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | Unknown | 5) Unknown | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1734 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 1 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1735 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 2 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1736 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 3 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1737 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 4 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1738 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 5 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1739 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 6 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1740 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 7 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1741 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 8 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1742 | Lifted | Ontario | Ontario | 4 | Pumphouse No. 9 Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1743 | Lifted | Ontario | Ontario | 4 | Warehouse Semi-Public Water System | 259 | Slate Falls Nation | Boil water advisory | New water treatment plant | Complete | 2004-07-07 | 2005-07-07 | 2018-02-05 | 0 to 100 people | 1) 0 to 100 people | 51.1494 | -91.6182 | -91.61824 | 51.14938 | No | 0 |  | ON | 5
1747 | Lifted | Manitoba | Manitoba | 4 | Hollow Water Public Water System | 263 | Hollow Water | Boil water advisory | Expansion and upgrade of plant | Complete | 2016-12-20 | 2017-12-20 | 2018-05-02 | 501 to 1000 people | 3) 501 to 1000 people | 51.1924 | -96.3023 | -96.30229 | 51.19238 | No | 0 |  | MB | 5
1748 | Lifted | Manitoba | Manitoba | 4 | Kinonjeoshtegon Public Water System | 268 | Kinonjeoshtegon First Nation | Boil water advisory | Upgrades to treatment system | Complete | 2016-07-07 | 2017-07-07 | 2017-12-21 | 0 to 100 people | 1) 0 to 100 people | 51.9171 | -97.311 | -97.31095 | 51.91709 | No | 0 |  | MB | 5
1749 | Lifted | Manitoba | Manitoba | 4 | Kinonjeoshtegon Band Office/Health Centre Semi-Public Water System | 268 | Kinonjeoshtegon First Nation | Boil water advisory | Connection to nearby pumphouse | Complete | 2017-04-13 | 2018-04-13 | 2018-06-22 | Unknown | 5) Unknown | 51.9171 | -97.311 | -97.31095 | 51.91709 | No | 0 |  | MB | 5
1750 | Lifted | Manitoba | Manitoba | 4 | Lake Manitoba Band Office Semi-Public Water System | 271 | Lake Manitoba | Boil water advisory | Repairs to well | Complete | 2014-06-23 | 2015-06-23 | 2016-03-23 | Unknown | 5) Unknown | 50.9472 | -98.607 | -98.607 | 50.94718 | No | 0 |  | MB | 5
1751 | Lifted | Manitoba | Manitoba | 4 | Lake Manitoba Public Water System | 271 | Lake Manitoba | Boil water advisory | Improved disinfection process | Complete | 2016-04-06 | 2017-04-06 | 2017-05-08 | 101 to 500 people | 2) 101 to 500 people | 50.9472 | -98.607 | -98.607 | 50.94718 | No | 0 |  | MB | 5
1211 | Lifted | Manitoba | Manitoba | 4 | Lake Manitoba Jordan's principle Building Semi Public Well | 271 | Lake Manitoba | Boil water advisory | A new well in place | Complete | 2019-06-13 | 2020-06-13 | 2020-12-23 | 0 to 100 people | 1) 0 to 100 people | 50.908 | -98.5806 | -98.580553 | 50.907992 | No | 0 |  | MB | 5
1688 | Lifted | Manitoba | Manitoba | 4 | Pinaymootang Arena Semi-Public Water System | 272 | Pinaymootang First Nation | Boil water advisory | Connection to main community water system | Complete | 2015-08-17 | 2016-08-17 | 2019-04-17 | Unknown | 5) Unknown | 51.5986 | -98.6922 | -98.69222 | 51.59861 | No | 0 |  | MB | 5
1238 | Lifted | Manitoba | Manitoba | 4 | Little Saskatchewan Band Office Semi-Public Water System | 274 | Little Saskatchewan | Boil water advisory | Relocate affected building and connect to centralized system | Complete | 2019-09-26 | 2020-09-26 | 2021-03-23 | Unknown | 5) Unknown | 51.7296 | -98.632 | -98.631985 | 51.729594 | No | 0 |  | MB | 5
1686 | Lifted | Manitoba | Manitoba | 4 | Canupawakpa Community Complex Semi-Public Water System | 289 | Canupawakpa Dakota First Nation | Boil water advisory | Upgrades and repairs to system | Complete | 2014-03-26 | 2015-03-26 | 2018-09-28 | Unknown | 5) Unknown | 49.6239 | -100.9328 | -100.93278 | 49.62389 | No | 0 |  | MB | 5
1687 | Lifted | Manitoba | Manitoba | 4 | God's Lake Austin Nazzie Pump House Public Water System | 296 | God's Lake First Nation | Do not consume advisory | Upgrades to treatment system | Complete | 2005-04-24 | 2006-04-24 | 2019-07-29 | 0 to 100 people | 1) 0 to 100 people | 54.5322 | -94.5875 | -94.5875 | 54.53222 | No | 0 |  | MB | 5
1215 | Lifted | Manitoba | Manitoba | 4 | Sapotaweyak Water Treatment Plant | 314 | Sapotaweyak Cree Nation | Boil water advisory | Interim repairs to plant and, in longer-term, new water treatment plant | Complete | 2019-07-10 | 2020-07-10 | 2021-05-20 | 501 to 1000 people | 3) 501 to 1000 people | 52.7457 | -100.4599 | -100.4599 | 52.7457 | No | 0 | 2021-05-20 | MB | 5
1690 | Lifted | Manitoba | Manitoba | 4 | Wuskwi Sipihk Public Water System | 324 | Wuskwi Sipihk First Nation | Boil water advisory | New water treatment plant | Complete | 2014-04-24 | 2015-04-24 | 2020-07-30 | 0 to 100 people | 1) 0 to 100 people | 52.5091 | -100.8705 | -100.87052 | 52.50907 | No | 0 |  | MB | 5
1752 | Lifted | Manitoba | Manitoba | 4 | Pauingassi Public Water System | 327 | Pauingassi First Nation | Boil water advisory | Upgrade and expansion of treatment plant | Complete | 2014-09-24 | 2015-09-24 | 2018-03-16 | 501 to 1000 people | 3) 501 to 1000 people | 52.1576 | -95.3741 | -95.37413 | 52.15761 | No | 0 |  | MB | 5
1760 | Lifted | Saskatchewan | Saskatchewan | 4 | Poundmaker Public Water System | 345 | Poundmaker | Boil water advisory | Improved in-house water storage | Complete | 2009-08-19 | 2010-08-19 | 2018-03-20 | 0 to 100 people | 1) 0 to 100 people | 52.8961 | -108.9743 | -108.97431 | 52.89611 | No | 0 |  | SK | 5
1761 | Lifted | Saskatchewan | Saskatchewan | 4 | TLE Community Public Water System | 345 | Poundmaker | Boil water advisory | Improved operation and monitoring | Complete | 2006-12-15 | 2007-12-15 | 2017-04-21 | 0 to 100 people | 1) 0 to 100 people | 52.8961 | -108.9743 | -108.97431 | 52.89611 | No | 0 |  | SK | 5
1763 | Lifted | Saskatchewan | Saskatchewan | 4 | Sweetgrass Public Water System | 348 | Sweetgrass | Boil water advisory | Improved distribution system disinfection | Complete | 2002-01-11 | 2003-01-11 | 2017-01-26 | 0 to 100 people | 1) 0 to 100 people | 52.7655 | -108.7159 | -108.71593 | 52.76546 | No | 0 |  | SK | 5
1754 | Lifted | Saskatchewan | Saskatchewan | 4 | Pemmican Portage Public Water System | 350 | Cumberland House Cree Nation | Boil water advisory | Water treatment plant repairs | Complete | 2015-03-18 | 2016-03-18 | 2016-04-20 | 501 to 1000 people | 3) 501 to 1000 people | 53.9419 | -102.2849 | -102.28493 | 53.94193 | No | 0 |  | SK | 5
1755 | Lifted | Saskatchewan | Saskatchewan | 4 | Cumberland No. 20 Reserve Centre | 350 | Cumberland House Cree Nation | Boil water advisory | Water treatment plant repairs | Complete | 2015-03-18 | 2016-03-18 | 2016-08-02 | 0 to 100 people | 1) 0 to 100 people | 53.9419 | -102.2849 | -102.28493 | 53.94193 | No | 0 |  | SK | 5
1788 | Lifted | Saskatchewan | Saskatchewan | 4 | Fond du Lac Denesuline Public Water System | 351 | Fond du Lac | Boil water advisory | Upgrades to treatment system | Complete | 2017-07-16 | 2018-07-16 | 2018-10-19 | 1001 or more people | 4) 1001 or more people | 59.1232 | -107.8889 | -107.88886 | 59.12322 | No | 0 |  | SK | 5
1759 | Lifted | Saskatchewan | Saskatchewan | 4 | Pelican Narrows Semi-Public Water System | 355 | Peter Ballantyne Cree Nation | Boil water advisory | Improved operation and maintenance | Complete | 2015-08-25 | 2016-08-25 | 2017-11-07 | Unknown | 5) Unknown | 55.1724 | -102.9342 | -102.93417 | 55.1724 | No | 0 |  | SK | 5
1226 | Lifted | Saskatchewan | Saskatchewan | 4 | Chief Joseph Custer #201 (Opawakoscikan Reserve #201) | 355 | Peter Ballantyne Cree Nation | Boil water advisory | Distribution system upgrades | Complete | 2019-08-20 | 2020-08-20 | 2021-03-22 | 0 to 100 people | 1) 0 to 100 people | 55.168 | -102.887 | -102.887 | 55.168 | No | 0 |  | SK | 5
1762 | Lifted | Saskatchewan | Saskatchewan | 4 | Red Earth Cree Nation Public Water System | 356 | Red Earth | Boil water advisory | Repairs and upgrades to treatment system | Complete | 2016-06-24 | 2017-06-24 | 2018-03-02 | 1001 or more people | 4) 1001 or more people | 53.4909 | -102.8611 | -102.86114 | 53.49095 | No | 0 |  | SK | 5
1692 | Lifted | Saskatchewan | Saskatchewan | 4 | Black Lake Public Water System | 359 | Black Lake | Boil water advisory | Upgrades to treatment plant | Complete | 2013-04-19 | 2014-04-19 | 2021-01-23 | 1001 or more people | 4) 1001 or more people | 59.1302 | -105.6026 | -105.60264 | 59.13025 | No | 0 |  | SK | 5
1753 | Lifted | Saskatchewan | Saskatchewan | 4 | Marieval (lower subdivision) Public Water System | 361 | Cowessess | Boil water advisory | Water treatment plant repairs | Complete | 2017-02-15 | 2018-02-15 | 2018-03-22 | 101 to 500 people | 2) 101 to 500 people | 50.5164 | -102.6601 | -102.66013 | 50.51636 | No | 0 |  | SK | 5
1756 | Lifted | Saskatchewan | Saskatchewan | 4 | Kahkewistahaw Public Water System | 362 | Kahkewistahaw | Boil water advisory | Water treatment plant repairs | Complete | 2015-06-03 | 2016-06-03 | 2017-10-31 | 101 to 500 people | 2) 101 to 500 people | 50.4912 | -102.5314 | -102.53144 | 50.49124 | No | 0 |  | SK | 5
1698 | Lifted | Saskatchewan | Saskatchewan | 4 | White Bear Public Water System | 365 | White Bear | Boil water advisory | New water treatment plant | Complete | 2011-09-20 | 2012-09-20 | 2021-06-15 | 501 to 1000 people | 3) 501 to 1000 people | 49.7518 | -102.2704 | -102.27037 | 49.75176 | No | 0 |  | SK | 5
1757 | Lifted | Saskatchewan | Saskatchewan | 4 | Nekaneet Public Water System | 380 | Nekaneet | Boil water advisory | Effective monitoring and sampling | Complete | 2013-08-26 | 2014-08-26 | 2016-04-06 | 101 to 500 people | 2) 101 to 500 people | 49.6752 | -109.1982 | -109.19816 | 49.67516 | No | 0 |  | SK | 5
1758 | Lifted | Saskatchewan | Saskatchewan | 4 | Upper Camp Public Water System | 380 | Nekaneet | Boil water advisory | Commissioning of new treatment plant | Complete | 2013-08-26 | 2014-08-26 | 2016-11-30 | 0 to 100 people | 1) 0 to 100 people | 49.6752 | -109.1982 | -109.19816 | 49.67516 | No | 0 |  | SK | 5
1801 | Lifted | Saskatchewan | Saskatchewan | 4 | Upper Camp Public Water System | 380 | Nekaneet | Boil water advisory | Upgrades to treatment system | Complete | 2017-10-26 | 2018-10-26 | 2019-03-04 | 0 to 100 people | 1) 0 to 100 people | 49.6752 | -109.1982 | -109.198160739 | 49.675163715 | No | 0 |  | SK | 5
1810 | Lifted | Saskatchewan | Saskatchewan | 4 | Standing Buffalo Public Water System | 386 | Standing Buffalo | Boil water advisory | Upgrades and repairs to system | Complete | 2018-05-09 | 2019-05-09 | 2019-07-10 | 101 to 500 people | 2) 101 to 500 people | 50.8236 | -103.9705 | -103.9705198 | 50.8235608 | No | 0 |  | SK | 5
1691 | Lifted | Saskatchewan | Saskatchewan | 4 | Big Island Lake Public Water System | 399 | Big Island Lake Cree Nation | Boil water advisory | Repairs to treatment system; Improved operation and maintenance | Complete | 2013-08-20 | 2014-08-20 | 2018-06-25 | 501 to 1000 people | 3) 501 to 1000 people | 54.4112 | -109.6209 | -109.62092 | 54.41121 | No | 0 |  | SK | 5
1765 | Lifted | Alberta | Alberta | 4 | Narrow's Semi-Public Water System | 452 | Kapawe'no First Nation | Boil water advisory | Monitoring and reporting improvements | Complete | 2009-09-29 | 2010-09-29 | 2018-04-16 | Unknown | 5) Unknown | 55.5486 | -116.1549 | -116.15486 | 55.54863 | No | 0 |  | AB | 5
1700 | Lifted | Alberta | Alberta | 4 | Whitefish River Public Water System | 459 | Whitefish Lake | Boil water advisory | New water treatment plant | Complete | 2011-05-24 | 2012-05-24 | 2018-07-03 | 101 to 500 people | 2) 101 to 500 people | 55.9189 | -115.6481 | -115.64807 | 55.9189 | No | 0 |  | AB | 5
1764 | Lifted | Alberta | Alberta | 4 | Frog Lake Head Start Building Semi-Public Water Supply | 465 | Frog Lake | Boil water advisory | Connection to community water system | Complete | 2016-02-25 | 2017-02-25 | 2017-11-16 | 0 to 100 people | 1) 0 to 100 people | 53.8317 | -110.4167 | -110.41667 | 53.83167 | No | 0 |  | AB | 5
1699 | Lifted | Alberta | Alberta | 4 | Kehewin Public Water System | 466 | Kehewin Cree Nation | Boil water advisory | New water treatment plant | Complete | 2011-04-23 | 2012-04-23 | 2020-09-10 | 1001 or more people | 4) 1001 or more people | 54.1161 | -110.8571 | -110.85709 | 54.11609 | No | 0 |  | AB | 5
1714 | Lifted | Newfoundland And Labrador | Atlantic | 4 | Conne River Public Water System | 47 | Miawpukek | Boil water advisory | Repairs/upgrades to treatment system and operator training | Complete | 2014-09-10 | 2015-09-10 | 2018-06-13 | 501 to 1000 people | 3) 501 to 1000 people | 47.8638 | -55.7557 | -55.75569 | 47.86383 | No | 0 |  | AT | 5
1705 | Lifted | British Columbia | British Columbia | 4 | Semiahmoo Community Water System | 569 | Semiahmoo | Boil water advisory | New connection to City of Surrey and repairs to distribution system | Complete | 2005-10-13 | 2006-10-13 | 2021-03-31 | 0 to 50 people | 1) 0 to 100 people | 49.0145 | -122.7777 | -122.77774 | 49.01453 | No | 0 |  | BC | 5
1772 | Lifted | British Columbia | British Columbia | 4 | Seton Lake Cabins Community Water System | 593 | T'it'q'et | Boil water advisory | Upgrades and repairs to system | Complete | 2007-07-24 | 2008-07-24 | 2017-08-17 | 0 to 50 people | 1) 0 to 100 people | 50.6782 | -121.9421 | -121.94215 | 50.67821 | No | 0 |  | BC | 5
1774 | Lifted | British Columbia | British Columbia | 4 | Spider Creek Community Water System | 595 | Tsal'alh | Boil water advisory | Upgrades to treatment system | Complete | 2016-11-30 | 2017-11-30 | 2018-02-05 | 0 to 50 people | 1) 0 to 100 people | 50.7058 | -122.2786 | -122.27861 | 50.70583 | No | 0 |  | BC | 5
1768 | Lifted | British Columbia | British Columbia | 4 | Blind Creek Community Water System | 598 | Lower Similkameen | Boil water advisory | Maintenance of system | Complete | 2016-05-07 | 2017-05-07 | 2017-05-08 | 0 to 50 people | 1) 0 to 100 people | 49.0514 | -119.7238 | -119.7238 | 49.05143 | No | 0 |  | BC | 5
1770 | Lifted | British Columbia | British Columbia | 4 | Stoddart Creek Community Water System | 605 | Shuswap | Boil water advisory | Water system improvements | Complete | 2014-05-12 | 2015-05-12 | 2016-06-30 | 0 to 50 people | 1) 0 to 100 people | 50.5159 | -116.0073 | -116.00726 | 50.51586 | No | 0 |  | BC | 5
1706 | Lifted | British Columbia | British Columbia | 4 | Stellaquo Community Water System | 613 | Stellat'en First Nation | Do not consume advisory | Upgrade water treatment process | Complete | 2012-03-13 | 2013-03-13 | 2019-04-01 | 101 to 200 people | 2) 101 to 500 people | 54.0638 | -124.9111 | -124.91111 | 54.0638 | No | 0 |  | BC | 5
1707 | Lifted | British Columbia | British Columbia | 4 | Dzitl'ainli (Middle River Community Water System) | 617 | Tl'azt'en Nation | Boil water advisory | New water treatment plant | Complete | 2005-01-07 | 2006-01-07 | 2018-11-16 | 0 to 50 people | 1) 0 to 100 people | 54.6559 | -124.7236 | -124.72357 | 54.65587 | No | 0 |  | BC | 5
1704 | Lifted | British Columbia | British Columbia | 4 | Dougans Lake Community Water System | 642 | Cowichan | Boil water advisory | Connection to regional distribution system | Complete | 2011-06-29 | 2012-06-29 | 2018-09-12 | 0 to 50 people | 1) 0 to 100 people | 48.7333 | -123.6167 | -123.61667 | 48.73333 | No | 0 |  | BC | 5
1701 | Lifted | British Columbia | British Columbia | 4 | Doug Arnouse Community Water System | 684 | Adams Lake | Boil water advisory | Water system improvements | Complete | 2009-04-23 | 2010-04-23 | 2018-09-13 | 0 to 50 people | 1) 0 to 100 people | 50.9542 | -119.6694 | -119.66944 | 50.95417 | No | 0 |  | BC | 5
1703 | Lifted | British Columbia | British Columbia | 4 | Morgan/Upper Hat Creek | 686 | Bonaparte | Boil water advisory | New water treatment plant | Complete | 2006-02-09 | 2007-02-09 | 2020-08-28 | 0 to 50 people | 1) 0 to 100 people | 50.8421 | -121.3853 | -121.38529 | 50.84215 | No | 0 |  | BC | 5
1638 | Lifted | New Brunswick | Atlantic | 4 | Big Hole Tract Public Water System | 7 | Eel Ground | Boil water advisory | New water treatment plant | Complete | 2008-10-08 | 2009-10-08 | 2019-04-10 | 0 to 100 people | 1) 0 to 100 people | 46.9925 | -65.6331 | -65.63306 | 46.9925 | No | 0 |  | AT | 5
1771 | Lifted | British Columbia | British Columbia | 4 | Siska Flat 5 and 5A Community Water System | 706 | Siska | Do not consume advisory | New well connected to system | Complete | 2012-05-23 | 2013-05-23 | 2017-04-24 | 0 to 50 people | 1) 0 to 100 people | 50.1364 | -121.5716 | -121.57155 | 50.13635 | No | 0 |  | BC | 5
1766 | Lifted | British Columbia | British Columbia | 4 | Alexis Creek Community Water System | 710 | Tŝideldel First Nation | Boil water advisory | New water treatment plant | Complete | 2003-10-15 | 2004-10-15 | 2016-10-21 | 201 to 500 people | 2) 101 to 500 people | 52.1386 | -123.9521 | -123.95209 | 52.13858 | No | 0 |  | BC | 5
1702 | Lifted | British Columbia | British Columbia | 4 | Michel Gardens Community Water System | 710 | Tŝideldel First Nation | Boil water advisory | Water system improvements | Complete | 1999-04-01 | 2000-04-01 | 2018-10-12 | 0 to 50 people | 1) 0 to 100 people | 52.0833 | -123.2833 | -123.28333 | 52.08333 | No | 0 |  | BC | 5
1767 | Lifted | British Columbia | British Columbia | 4 | Esket Community Water System | 711 | Esk'etemc | Boil water advisory | New water treatment plant | Complete | 2004-10-21 | 2005-10-21 | 2016-03-22 | 501 to 1000 people | 3) 501 to 1000 people | 51.7887 | -122.2365 | -122.23645 | 51.78866 | No | 0 |  | BC | 5
1709 | Lifted | British Columbia | British Columbia | 4 | Carrot Creek/James Lulua Community Water System | 714 | Xeni Gwet'in First Nations Government | Boil water advisory | Installation of point-of-use systems and implementation of monitoring | Complete | 2001-10-18 | 2002-10-18 | 2021-03-09 | 0 to 50 people | 1) 0 to 100 people | 51.4125 | -124.1143 | -124.11427 | 51.41252 | No | 0 |  | BC | 5
1710 | Lifted | British Columbia | British Columbia | 4 | Lohbiee Community Water System | 714 | Xeni Gwet'in First Nations Government | Boil water advisory | New water treatment system | Complete | 2001-05-01 | 2002-05-01 | 2018-12-11 | 201 to 500 people | 2) 101 to 500 people | 51.4154 | -124.0956 | -124.09563 | 51.41537 | No | 0 |  | BC | 5
1773 | Lifted | British Columbia | British Columbia | 4 | Toosey Community Water System | 718 | Toosey | Boil water advisory | New water treatment plant | Complete | 2004-11-25 | 2005-11-25 | 2017-05-08 | 101 to 200 people | 2) 101 to 500 people | 51.9318 | -122.5023 | -122.50232 | 51.93182 | No | 0 |  | BC | 5
1775 | Lifted | British Columbia | British Columbia | 4 | Sugar Cane Williams Lake Community Water System | 719 | Williams Lake First Nation | Boil water advisory | New water treatment plant | Complete | 2006-07-31 | 2007-07-31 | 2015-11-30 | 201 to 500 people | 2) 101 to 500 people | 52.1083 | -121.9939 | -121.99391 | 52.1083 | No | 0 |  | BC | 5
1769 | Lifted | British Columbia | British Columbia | 4 | Nazko Community Water System | 720 | Nazko First Nation | Do not consume advisory | New water treatment plant | Complete | 1999-01-01 | 2000-01-01 | 2015-11-20 | 0 to 50 people | 1) 0 to 100 people | 52.9413 | -123.5807 | -123.58066 | 52.94126 | No | 0 |  | BC | 5
1708 | Lifted | British Columbia | British Columbia | 4 | Palling Community Water System | 725 | Wet'suwet'en First Nation | Do not consume advisory | Upgrades to treatment process and feasibility study to determine long-term solution | Complete | 2012-03-13 | 2013-03-13 | 2021-03-18 | 51 to 100 people | 1) 0 to 100 people | 54.3307 | -125.8882 | -125.88823 | 54.33072 | No | 0 |  | BC | 5
1717 | Lifted | Quebec | Quebec | 4 | Nicolas Stevens Center Semi-Public Water System | 73 | Kitigan Zibi Anishinabeg | Do not consume advisory | Effective monitoring and sampling | Complete | 1999-08-12 | 2000-08-12 | 2017-12-11 | Unknown | 5) Unknown | 46.364 | -76.0636 | -76.06362 | 46.363995 | No | 0 |  | QC | 5
1718 | Lifted | Quebec | Quebec | 4 | Pakinawatik School Semi-Public Water System | 73 | Kitigan Zibi Anishinabeg | Do not consume advisory | Effective monitoring and sampling | Complete | 1999-08-12 | 2000-08-12 | 2017-12-11 | Unknown | 5) Unknown | 46.364 | -76.0636 | -76.06362 | 46.363995 | No | 0 |  | QC | 5
1719 | Lifted | Quebec | Quebec | 4 | Wanaki Treatment Centre Semi-Public Water System | 73 | Kitigan Zibi Anishinabeg | Do not consume advisory | Effective monitoring and sampling | Complete | 1999-08-12 | 2000-08-12 | 2017-12-11 | Unknown | 5) Unknown | 46.364 | -76.0636 | -76.06362 | 46.363995 | No | 0 |  | QC | 5
1824 | Current | Ontario | Ontario | 2 | Cape Croker Public Water System | 122 | Chippewas of Nawash First Nation | Boil water advisory | New treatment plant | Design | 2019-01-21 | 2020-01-21 |  | 501 to 1000 people | 3) 501 to 1000 people | 44.9471 | -81.0153 | -81.0153 | 44.9471 | No | 0 |  | ON | 2
1800 | Current | Ontario | Ontario | 2 | Whitedog Public Water System | 150 | Wabaseemoong Independent Nations | Boil water advisory | Upgrades and repairs to system | Construction | 2017-08-11 | 2018-08-11 |  | 501 to 1000 people | 3) 501 to 1000 people | 50.1672 | -94.9355 | -94.93545 | 50.16717 | No | 0 |  | ON | 4
1654 | Current | Ontario | Ontario | 2 | Scugog Community Water System 1 Public Water System | 140 | Mississaugas of Scugog Island First Nation | Boil water advisory | New water treatment plant | Construction | 2008-10-23 | 2009-10-23 |  | 0 to 100 people | 1) 0 to 100 people | 44.194 | -78.8806 | -78.88061 | 44.19397 | No | 0 |  | ON | 4
1655 | Current | Ontario | Ontario | 2 | Scugog Community Water System 2 Public Water System | 140 | Mississaugas of Scugog Island First Nation | Boil water advisory | New water treatment plant | Construction | 2008-10-23 | 2009-10-23 |  | 0 to 100 people | 1) 0 to 100 people | 44.194 | -78.8806 | -78.88061 | 44.19397 | No | 0 |  | ON | 4
1669 | Current | Ontario | Ontario | 2 | Elsie Blackhawk Pumphouse Public Water System | 151 | Northwest Angle No.33 | Boil water advisory | New water treatment plant | Construction | 2011-04-11 | 2012-04-11 |  | 0 to 100 people | 1) 0 to 100 people | 49.3631 | -95.0159 | -95.01585 | 49.36315 | No | 0 |  | ON | 4
1667 | Current | Ontario | Ontario | 2 | East Pumphouse Plant Public Water System (part of Angle Inlet Public Water System) | 151 | Northwest Angle No.33 | Boil water advisory | New water treatment plant | Construction | 2011-04-11 | 2012-04-11 |  | 0 to 100 people | 1) 0 to 100 people | 49.3631 | -95.0159 | -95.01585 | 49.36315 | No | 0 |  | ON | 4
1832 | Current | Ontario | Ontario | 2 | Anishnaabeg of Naongashiing Big Island (Saug-A-Gaw-Sing) Water Treatment System | 125 | Anishnaabeg of Naongashiing | Boil water advisory | Replacement of treatment system | Construction | 2019-02-15 | 2020-02-15 |  | 101 to 500 people | 2) 101 to 500 people | 49.122 | -94.308 | -94.308 | 49.122 | No | 0 |  | ON | 4
1644 | Current | Ontario | Ontario | 2 | Georgina Island Public Water System | 138 | Chippewas of Georgina Island | Boil water advisory | Upgrades to treatment system | Complete | 2017-04-24 | 2018-04-24 |  | 101 to 500 people | 2) 101 to 500 people | 44.3728 | -79.3129 | -79.31287 | 44.37284 | No | 0 |  | ON | 5
1656 | Current | Ontario | Ontario | 2 | Scugog Band Office Semi-Public Water System | 140 | Mississaugas of Scugog Island First Nation | Boil water advisory | New water treatment plant | Construction | 2008-10-23 | 2009-10-23 |  | Unknown | 5) Unknown | 44.194 | -78.8806 | -78.88061 | 44.19397 | No | 0 |  | ON | 4
1657 | Current | Ontario | Ontario | 2 | Scugog Health Centre Semi-Public Water System | 140 | Mississaugas of Scugog Island First Nation | Boil water advisory | New water treatment plant | Construction | 2008-10-23 | 2009-10-23 |  | Unknown | 5) Unknown | 44.194 | -78.8806 | -78.88061 | 44.19397 | No | 0 |  | ON | 4
1668 | Current | Ontario | Ontario | 2 | West Pumphouse Plant Public Water System (part of Angle Inlet Public Water System) | 151 | Northwest Angle No.33 | Do not consume advisory | New water treatment plant | Construction | 2016-02-12 | 2017-02-12 |  | 0 to 100 people | 1) 0 to 100 people | 49.3631 | -95.0159 | -95.01585 | 49.36315 | No | 0 |  | ON | 4
1676 | Current | Ontario | Ontario | 2 | Pumphouse No. 1 Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1682 | Current | Ontario | Ontario | 2 | School Pumphouse Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1680 | Current | Ontario | Ontario | 2 | Pumphouse No. 5 Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1679 | Current | Ontario | Ontario | 2 | Pumphouse No. 4 Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1678 | Current | Ontario | Ontario | 2 | Pumphouse No. 3 Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1677 | Current | Ontario | Ontario | 2 | Pumphouse No. 2 Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1681 | Current | Ontario | Ontario | 2 | Pumphouse No. 9 Public Water System | 155 | Shoal Lake No.40 | Boil water advisory | New water treatment plant | Construction | 1997-02-18 | 1998-02-18 |  | 0 to 100 people | 1) 0 to 100 people | 49.614 | -95.1357 | -95.13574 | 49.61399 | No | 0 |  | ON | 4
1659 | Current | Ontario | Ontario | 2 | MBQ Airport Public Water System | 164 | Mohawks of the Bay of Quinte | Boil water advisory | Extension of distribution system | Construction | 2003-10-17 | 2004-10-17 |  | 0 to 100 people | 1) 0 to 100 people | 44.1437 | -77.2559 | -77.25589 | 44.14373 | No | 0 |  | ON | 4
1662 | Current | Ontario | Ontario | 2 | MBQ Trailer Park Public Water System | 164 | Mohawks of the Bay of Quinte | Boil water advisory | Extension of distribution system | Construction | 2008-06-06 | 2009-06-06 |  | 0 to 100 people | 1) 0 to 100 people | 44.1437 | -77.2559 | -77.25589 | 44.14373 | No | 0 |  | ON | 4
1658 | Current | Ontario | Ontario | 2 | All MBQ Semi-Public Water System | 164 | Mohawks of the Bay of Quinte | Boil water advisory | Extension of distribution system | Construction | 2008-06-06 | 2009-06-06 |  | Unknown | 5) Unknown | 44.1437 | -77.2559 | -77.25589 | 44.14373 | No | 0 |  | ON | 4
1661 | Current | Ontario | Ontario | 2 | MBQ Clifford Maracle's Well Public Water Supply | 164 | Mohawks of the Bay of Quinte | Boil water advisory | Extension of distribution system | Construction | 2012-01-20 | 2013-01-20 |  | 0 to 100 people | 1) 0 to 100 people | 44.1437 | -77.2559 | -77.25589 | 44.14373 | No | 0 |  | ON | 4
1660 | Current | Ontario | Ontario | 2 | MBQ Bayview Variety Apartments Public Water System | 164 | Mohawks of the Bay of Quinte | Boil water advisory | Extension of distribution system | Construction | 2008-06-06 | 2009-06-06 |  | 0 to 100 people | 1) 0 to 100 people | 44.1437 | -77.2559 | -77.25589 | 44.14373 | No | 0 |  | ON | 4
1236 | Current | Ontario | Ontario | 2 | Oneida Public Water System | 169 | Oneida Nation of the Thames | Boil water advisory | Interim options being assessed | Feasibility | 2019-09-26 | 2020-09-26 |  | 1001 or more people | 4) 1001 or more people | 42.8333 | -81.4167 | -81.41669 | 42.83329 | No | 0 |  | ON | 1
1645 | Current | Ontario | Ontario | 2 | Eabametoong Public Water System | 183 | Eabametoong First Nation | Boil water advisory | Expansion and upgrades to water treatment plant | Complete | 2001-08-01 | 2002-08-01 |  | 1001 or more people | 4) 1001 or more people | 51.5589 | -87.8881 | -87.88806 | 51.5589 | No | 0 |  | ON | 5
1653 | Current | Ontario | Ontario | 2 | Marten Falls Public Water System | 186 | Martin Falls | Boil water advisory | New water treatment system | Complete | 2005-07-18 | 2006-07-18 |  | 101 to 500 people | 2) 101 to 500 people | 51.6321 | -85.9235 | -85.92351 | 51.63206 | No | 0 |  | ON | 5
1650 | Current | Ontario | Ontario | 2 | Gull Bay Public Water System | 188 | Gull Bay | Boil water advisory | New water treatment plant | Construction | 2009-04-30 | 2010-04-30 |  | 101 to 500 people | 2) 101 to 500 people | 49.8045 | -89.1066 | -89.10656 | 49.80446 | No | 0 |  | ON | 4
1207 | Current | Ontario | Ontario | 2 | Ten Houses (63A) Public Water System | 203 | Mishkeegogamang | Boil water advisory | Upgrades to treatment system and new water treatment plant in longer-term | Complete | 2019-06-10 | 2020-06-10 |  | Unknown | 5) Unknown | 51.2167 | -90.1833 | -90.18329 | 51.21669 | No | 0 |  | ON | 5
1362 | Current | Ontario | Ontario | 2 | North Caribou Lake Water Treatment System | 204 | North Caribou Lake | Boil water advisory | Upgrades and expansion of water treatment plant | Feasibility | 2020-03-03 | 2021-03-03 |  | 0 to 100 people | 1) 0 to 100 people | 52.95 | -91.0267 | -91.02667 | 52.95 | No | 0 |  | ON | 1
1361 | Current | Ontario | Ontario | 2 | Bearskin Lake Nursing Station Semi Private Water System | 207 | Bearskin Lake | Boil water advisory | New treatment unit for the well | Design | 2020-02-26 | 2021-02-26 |  | 0 to 100 people | 1) 0 to 100 people | 53.925 | -90.9701 | -90.970081 | 53.924975 | No | 0 |  | ON | 2
1641 | Current | Ontario | Ontario | 2 | Bearskin Lake Community Centre/Youth Centre Semi-Public Water System | 207 | Bearskin Lake | Do not consume advisory | Installation of cistern at affected building and longer-term plant upgrade and expansion | Construction | 2006-03-21 | 2007-03-21 |  | Unknown | 5) Unknown | 53.8919 | -90.9547 | -90.95472 | 53.89194 | No | 0 |  | ON | 4
1675 | Current | Ontario | Ontario | 2 | Sandy Lake Public Water System | 211 | Sandy Lake | Boil water advisory | Repairs and operational improvements; plant upgrade and expansion in longer-term | Complete | 2002-10-10 | 2003-10-10 |  | 1001 or more people | 4) 1001 or more people | 53.0631 | -93.3277 | -93.32766 | 53.06309 | No | 0 |  | ON | 5
1663 | Current | Ontario | Ontario | 2 | Muskrat Dam Public Water System | 213 | Muskrat Dam Lake | Boil water advisory | Upgrades to treatment system | Complete | 2003-10-24 | 2004-10-24 |  | 101 to 500 people | 2) 101 to 500 people | 53.404 | -91.7799 | -91.77995 | 53.40402 | Yes | 1 | 2020-09-23 | ON | 5
1731 | Current | Ontario | Ontario | 2 | Sachigo Lake Public Water System | 214 | Sachigo Lake | Boil water advisory | Plant upgrade and expansion | Construction | 2018-10-19 | 2019-10-19 |  | 101 to 500 people | 2) 101 to 500 people | 53.8743 | -92.1794 | -92.17937 | 53.87427 | No | 0 |  | ON | 4
1684 | Current | Ontario | Ontario | 2 | Long Dog Public Water System | 234 | Wawakapewin | Boil water advisory | New wells and package treatment plant | Construction | 2004-03-03 | 2005-03-03 |  | 0 to 100 people | 1) 0 to 100 people | 53.4524 | -89.1417 | -89.14168 | 53.45238 | No | 0 |  | ON | 4
1673 | Current | Ontario | Ontario | 2 | Washagamis Bay West Public Water System | 235 | Washagamis Bay | Boil water advisory | Interim upgrades and new treatment plant in longer-term | Complete | 2008-12-19 | 2009-12-19 |  | 0 to 100 people | 1) 0 to 100 people | 49.7145 | -94.5871 | -94.58714 | 49.71451 | Yes | 1 | 2020-08-12 | ON | 5
1672 | Current | Ontario | Ontario | 2 | Washagamis Bay East Public Water System | 235 | Washagamis Bay | Boil water advisory | Interim upgrades and new treatment plant in longer-term | Complete | 2008-12-19 | 2009-12-19 |  | 0 to 100 people | 1) 0 to 100 people | 49.7145 | -94.5871 | -94.58714 | 49.71451 | Yes | 1 | 2021-01-04 | ON | 5
1272 | Current | Ontario | Ontario | 2 | Deer Lake Public Water System | 237 | Deer Lake | Boil water advisory | Improved operations and monitoring and feasibility study to determine long-term solution | Complete | 2019-10-15 | 2020-10-15 |  | 501 to 1000 people | 3) 501 to 1000 people | 52.0617 | -94.0067 | -94.00667 | 52.06167 | No | 0 |  | ON | 5
1203 | Current | Ontario | Ontario | 2 | North Spirit Lake Public Water System | 238 | North Spirit Lake | Boil water advisory | Maintenance and repairs, operational improvements | Construction | 2019-04-05 | 2020-04-05 |  | 101 to 500 people | 2) 101 to 500 people | 52.5094 | -93.0146 | -93.01459 | 52.50942 | No | 0 |  | ON | 4
1664 | Current | Ontario | Ontario | 2 | Neskantaga Public Water System | 239 | Neskantaga First Nation | Boil water advisory | Upgrade and expansion of treatment plant | Construction | 1995-02-01 | 1996-02-01 |  | 101 to 500 people | 2) 101 to 500 people | 52.2046 | -88.0114 | -88.01144 | 52.20458 | No | 0 |  | ON | 4
1665 | Current | Ontario | Ontario | 2 | Nibinamik Public Water System | 241 | Nibinamik First Nation | Boil water advisory | Upgrade and expansion of treatment plant | Construction | 2013-02-05 | 2014-02-05 |  | 101 to 500 people | 2) 101 to 500 people | 52.7455 | -88.5161 | -88.51613 | 52.74551 | No | 0 |  | ON | 4
1804 | Current | Ontario | Ontario | 2 | Saugeen Health Clinic Semi-Public Water System | 258 | Ojibway Nation of Saugeen | Boil water advisory | Repairs to well and installation of point-of-entry treatment sytsems | Construction | 2018-04-26 | 2019-04-26 |  | Unknown | 5) Unknown | 50.4292 | -90.7651 | -90.7650735 | 50.4291717 | No | 0 |  | ON | 4
1805 | Current | Ontario | Ontario | 2 | Saugeen School Semi-Public Water System | 258 | Ojibway Nation of Saugeen | Boil water advisory | Repairs to well and installation of point-of-entry treatment systems | Construction | 2018-04-27 | 2019-04-27 |  | Unknown | 5) Unknown | 50.4292 | -90.7651 | -90.7650735 | 50.4291717 | No | 0 |  | ON | 4
1689 | Current | Manitoba | Manitoba | 2 | Tataskweyak Cree Public Water System | 306 | Tataskweyak Cree Nation | Boil water advisory | Water source study and upgrades to treatment system | Complete | 2017-05-17 | 2018-05-17 |  | 1001 or more people | 4) 1001 or more people | 56.2451 | -96.0951 | -96.09506 | 56.24514 | No | 0 |  | MB | 5
1821 | Current | Manitoba | Manitoba | 2 | Shamattawa Public Water System | 307 | Shamattawa First Nation | Boil water advisory | Upgrades to system and a longer-term plant upgrade and expansion | Construction | 2018-12-06 | 2019-12-06 |  | 1001 or more people | 4) 1001 or more people | 55.8617 | -92.0984 | -92.0984 | 55.8617 | No | 0 |  | MB | 4
1817 | Current | Saskatchewan | Saskatchewan | 2 | Little Pine Public Water System | 340 | Little Pine | Boil water advisory | Upgrades and repairs to system | Complete | 2018-11-14 | 2019-11-14 |  | 501 to 1000 people | 3) 501 to 1000 people | 53.0042 | -107.2375 | -107.2375 | 53.00416 | No | 0 |  | SK | 5
1389 | Current | Saskatchewan | Saskatchewan | 2 | Okanese Public Water System | 382 | Okanese | Boil water advisory | "Long-term: System upgrade Short-term: Pump repairs" | Construction | 2020-08-28 | 2021-08-28 |  | 201 to 500 people | 2) 101 to 500 people | 50.9355 | 103.3544 | 103.35438 | 50.93548 | No | 0 |  | SK | 4
1695 | Current | Saskatchewan | Saskatchewan | 2 | Peepeekis Main Public Water System | 384 | Peepeekisis Cree Nation No.81 | Boil water advisory | Repairs to system and upgrades to system in longer-term | Complete | 2015-02-05 | 2016-02-05 |  | 501 to 1000 people | 3) 501 to 1000 people | 50.8652 | -103.3392 | -103.33924 | 50.86519 | Yes | 1 | 2018-07-20 | SK | 5
1696 | Current | Saskatchewan | Saskatchewan | 2 | Poitras Well | 384 | Peepeekisis Cree Nation No.81 | Boil water advisory | Repairs to system and upgrades to system in longer-term | Complete | 2013-04-10 | 2014-04-10 |  | 0 to 100 people | 1) 0 to 100 people | 50.8652 | -103.3392 | -103.33924 | 50.86519 | Yes | 1 | 2018-07-20 | SK | 5
1697 | Current | Saskatchewan | Saskatchewan | 2 | Star Blanket Public Water System | 387 | Star Blanket Cree Nation | Boil water advisory | Repairs and upgrades to treatment system | Complete | 2007-01-10 | 2008-01-10 |  | 101 to 500 people | 2) 101 to 500 people | 50.9624 | -103.3042 | -103.30419 | 50.96244 | No | 0 |  | SK | 5
1365 | Current | Saskatchewan | Saskatchewan | 2 | Ministikwan Lake Public Water System | 397 | Ministikwan Lake Cree Nation | Boil water advisory | Plant upgrades and distribution system repairs | Complete | 2020-03-09 | 2021-03-09 |  | 501 to 1000 people | 3) 501 to 1000 people | 53.9973 | -109.6366 | -109.63656 | 53.99734 | No | 0 |  | SK | 5